## 1
Emcure
R & D Ahmedabad
Analytical Development
Assay Calculation Sheet
Generic Name | Amphotericin B Liposome for injection 50 mg/vial | [7 empty] | Analysed By |  | Sundaram Patel
Product Name | Amphotericin B Liposome for injection 50 mg/vial | [7 empty] | Instrument ID |  | AD/HPLC/048
Test | Assay of Amphotericin B (Standard Lot No. R087G0) | [7 empty] | Date of Analysis |  | 2026-03-23
Analysis as per | QC-DP-MOA-066-06
Standard Details
Standard Name |  | Weight in mg | Vol | Pip | Vol | Pip | Vol | MW - Base | MW-Salt | Potency | PPM |  |  | Inj. | Area
Amphotericin B |  | 5.054 | 50 | 5 | 100 | 1 | 1 | 1 | 1 | 99.4 | 5.0237 |  |  |  | STD-1 | STD-2
STD | Amphotericin B |  | BKT STD | Amphotericin B |  |  | BKT STD | Amphotericin B |  |  | Weight | mg |  | 1 | 253287
| STD Area |  |  | BKT STD Area |  |  |  | BKT STD Area |  |  | STD -1 | 5.054 |  | 2 | 253024
1 | 253287 |  | 1 | 251635 |  |  | 7 |  |  |  | STD -2 |  |  | 3 | 252584
2 | 253024 |  | 2 | 251658 |  |  | 8 | [6 empty] | 4 | 252811
3 | 252584 |  | 3 |  |  |  | 9 | [6 empty] | 5 | 251367
4 | 252811 |  | 4 |  |  |  | 10 | [6 empty] | 6 | 0
5 | 251367 |  | 5 |  |  |  | 11 | [6 empty] | Mean | 252614.6
6 |  |  | 6 |  |  |  | 12 | 260938 | [5 empty] | STD Co-Relation |  | #VALUE!
Mean | 252614.6 |  | Mean | 252338 |  |  | Mean | 253413
SD | 744.269 |  | SD | 769.7285 |  |  | SD | 3122.954
% RSD | 0.29463 |  | % RSD | 0.30504 |  |  | % RSD | 1.2324
Sample Details
Batch No. | Stability Condition | Packing Detail | TRF No. | AR No. | Avg Weight | L.C. | Sample Weight | Vol | Pip | Vol | Pip | Vol | Area-1 | Area-2 | Avg. Area | % Assay | %Mean Assay
PTF_142HIN-392A | Initial_1 | Glass Vial | TRF-018-26-56 | AD/045/26/0114 | 1 | 50 | 1 | 500 | 5 | 100 | 1 | 1 | 273537 |  | 273537 | 108.7951 | 108.8384
PTF_142HIN-392A | Initial_2 | Glass Vial | TRF-018-26-56 | AD/045/26/0114 | 1 | 50 | 1 | 500 | 5 | 100 | 1 | 1 | 273755 |  | 273755 | 108.8818
PTF_142HIN-392B | Initial_1 | Glass Vial | TRF-018-26-57 | AD/045/26/0115 | 1 | 50 | 1 | 500 | 5 | 100 | 1 | 1 | 257284 |  | 257284 | 102.3307 | 102.4753
PTF_142HIN-392B | Initial_2 | Glass Vial | TRF-018-26-57 | AD/045/26/0115 | 1 | 50 | 1 | 500 | 5 | 100 | 1 | 1 | 258011 |  | 258011 | 102.6199
Analyzed By | [8 empty] | Checked By