## 1
Emcure
R & D Ahmedabad
Analytical Development
Assay Calculation Sheet
Generic Name | Bupivacaine liposome injectable suspension 1.3% (13.3 mg/mL) | [7 empty] | Analysed By |  | Divyang Patel
Product Name | Bupivacaine liposome injectable suspension 1.3% (13.3 mg/mL) | [7 empty] | Instrument ID |  | AD/HPLC/005
Test | Assay | [7 empty] | Template ID
Analysis as per | AD/ATP/650/02 | [7 empty] | Date of Analysis |  | 2025-02-11
Standard Details
Standard Name |  | Wt. in mg | Vol | Pip | Vol | Pip | Vol | MW-Base | MW-Salt | Potency | PPM |  |  | Inj. | Area
Bupivacaine |  | 50.59 | 100 | 10 | 50 | 1 | 1 | 1 | 1 | 99.64 | 100.8158 |  |  |  | STD-1 | STD-2
STD | Bupivacaine |  | BKT STD | Bupivacaine |  |  | BKT STD | Bupivacaine | [5 empty] | 1 | 2387569 | 2387736
| STD Area |  |  | BKT STD Area |  |  |  | BKT STD Area |  |  | Weight | mg |  | 2 | 2388066 | 2388617
1 | 2387569 |  | 1 | 2391925 |  |  | 7 |  |  |  | STD -1 | 50.59 |  | 3 | 2392223
2 | 2388066 |  | 2 | 2389666 |  |  | 8 |  |  |  | STD -2 | 50.47 |  | 4 | 2389532
3 | 2392223 |  | 3 |  |  |  | 9 | [6 empty] | 5 | 2382677
4 | 2389532 |  | 4 |  |  |  | 10 | [6 empty] | 6 | 0
5 | 2382677 |  | 5 |  |  |  | 11 | [6 empty] | Mean | 2388013.4 | 2388176.5
6 |  |  | 6 |  |  |  | 12 | [6 empty] | STD Co-Relation |  | 99.7
Mean | 2388013.4 |  | Mean | 2388808.2857 |  |  | Mean | 2388808.2857
SD | 3489.4233 |  | SD | 3222.6568 |  |  | SD | 3222.6568
% RSD | 0.14612 |  | % RSD | 0.13491 |  |  | % RSD | 0.13491
Sample Details
Batch No. | Stability Condition | Packing Detail | TRF No. | AR No. | Avg Weight | L.C. | Sample Weight | Vol | Pip | Vol | Area-1 | Area-2 | Avg. Area | % Assay | % Mean Assay | Assay (mg/mL) | Mean (mg/mL)
EP20_117-307 | 2-8°C_Initial_Set-1 | Glass Vial | TRF_010-25-72 | AD/008/25/0078 | 1.005 | 13.3 | 0.7621 | 100 | 1 | 1 | 2496042 |  | 2496042 | 104.4831 | 103.725 | 13.8963 | 13.7954
EP20_117-307 | 2-8°C_Initial_Set-2 | Glass Vial | TRF_010-25-72 | AD/008/25/0078 | 1.005 | 13.3 | 0.7469 | 100 | 1 | 1 | 2410763 |  | 2410763 | 102.967 |  | 13.6946
EP20_117-295 | 2-8°C_180 Days | Glass Vial | TRF_010-25-012 | AD/008/25/0033 | 1.005 | 13.3 | 0.7646 | 100 | 1 | 1 | 2383966 |  | 2383966 | 99.4654 | 99.4654 | 13.2289 | 13.2289
Analyzed By | [8 empty] | Checked By