## Sheet
Emcure
R & D Ahmedabad
Analytical Development
Free & Entrapped Drug Calculation Sheet
Generic Name | Bupivacaine liposome injectable suspension 13.3 mg/ml | [8 empty] | Template ID
Product Name | Bupivacaine liposome injectable suspension 13.3 mg/ml | [8 empty] | Instrument Id.
Test | Free & Entrapped Drug | [8 empty] | Analysed By
Analysis as per | QC-DP-MOA-077-03 | [8 empty] | Date of Analysis
Standard Details
STD Name | Weight in mg | Vol | Pip | Vol | Pip | Vol | M.W of Base |  | M.W. of Salt |  | Potency |  | PPM
Bupivacaine | 66.44 | 50 | 5 | 25 | 1 | 1 | 1 |  | 1 |  | 99.64 |  | 264.8033
Standard | Bupivacaine |  | BKT Standard | Bupivacaine |  |  | BKT Standard |  | Bupivacaine
Injection No. | Area |  | BKT Inj. No. | Area |  |  | BKT Inj. No. |  | Area
1 | 1407121 |  | 1 | 1405234 |  |  | 7
2 | 1407985 |  | 2 | 1402404 |  |  | 8
3 | 1407371 |  | 3 |  |  |  | 9
4 | 1407469 |  | 4 |  |  |  | 10
5 | 1407296 |  | 5 |  |  |  | 11
6 | 1407392 |  | 6 |  |  |  | 12
Mean | 1407439 |  | Mean | 1406534 |  |  | Mean |  | 1406534
SD | 292.3772 |  | SD | 1855.0499 |  |  | SD |  | 1855.0499
% RSD | 0.020774 |  | % RSD | 0.13189 |  |  | % RSD |  | 0.13189
Sample Details
Batch No. | Stability Condition | Packing Detail | TRF No. | A.R. No. | L.C. | Sample takne in ml | Vol | Pip | Vol | Sample Area | % Con. | % Assay of Bupivacaine | Bupivacaine in (mg/mL) | % Free Drug | Free Drug (mg/mL) | % Entrapped | Entrapped (mg/mL)
| 5% Trial-1 | Glass Vial | TRF-030-25-006 | AD/047/25/0214 | 13.3 | 1 | 5 | 1 | 1 | 712534 | 5.0399 | 101.5 | 13.4995 | 4.9654 | 0.66039 | 95.108 | 12.6494
| 13% Trial-2 | Glass Vial | TRF-030-25-007 | AD/047/25/0213 | 13.3 | 1 | 5 | 1 | 1 | 1825540 | 12.9123 | 101.5 | 13.4995 | 12.7215 | 1.692 | 87.4665 | 11.633
| 5% Trial-1 New Preparation | Glass Vial | TRF-030-25-006 | AD/047/25/0214 | 13.3 | 1 | 5 | 1 | 1 | 714272 | 5.0521 | 101.5 | 13.4995 | 4.9775 | 0.66201 | 95.0961 | 12.6478
| 13% Trial-2 New Preparation | Glass Vial | TRF-030-25-007 | AD/047/25/0213 | 13.3 | 1 | 5 | 1 | 1 | 1830013 | 12.9439 | 101.5 | 13.4995 | 12.7526 | 1.6961 | 87.4358 | 11.629
Analyzed By | [9 empty] | Checked By