## Lipid
Emcure
R & D Ahmedabad
Analytical Development
Lipid Assay Calculation Sheet
Generic Name |  | Bupivacaine liposome injectable suspension (13.3 mg/ml)
Product Name |  | Bupivacaine liposome injectable suspension (13.3 mg/ml)
Test |  | Lipid Content
Analysis as per |  | AD/ATP/648/02
Analysed By |  | Mayur Kansara
Instrument Id. |  | AD/HPLC/006
Date of Analysis |  | 2024-11-25
Standard Details
Compound Name | Weight in mg | Vol | Pip | Vol | Pip | Vol | Potency | M.W of Base | M.W. of Salt | Conc. (ppm)
Tricaprylin | 99.1 | 50 | 6 | 100 | 1 | 1 | 100 | 1 | 1 | 118.92
DPPG Na | 46.79 | 50 | 6 | 100 | 1 | 1 | 99.3 | 721.9602 | 744.95 | 54.0343
Cholesterol | 28.51 | 100 | 1 | 1 | 1 | 1 | 100 | 1 | 1 | 285.1
DEPC | 49.32 | 100 | 1 | 1 | 1 | 1 | 99.2 | 1 | 1 | 489.2544
Standard Details | Tricaprylin | DPPG | Cholesterol | DEPC |  | BKT Std | Tricaprylin | DPPG | Cholesterol | DEPC
Injection No. | Area | Area | Area | Area |  | Injection No. | Area | Area | Area | Area
1 | 8711513 | 4437526 | 32277247 | 44369260 |  | 1 | 8713270 | 4473297 | 32509936 | 43884434
2 | 8674291 | 4473096 | 32439471 | 44366857 |  | 2 | 8686255 | 4509972 | 32485699 | 43979519
3 | 8679908 | 4461331 | 32393636 | 44211085 |  | 3 | 8719164 | 4448498 | 32455877 | 43323151
4 | 8671826 | 4528571 | 32357224 | 43613144 |  | 4 | 8729929 | 4472750 | 32460029 | 44269558
5 | 8715229 | 4403707 | 32429381 | 43626749 |  | 5
6 | 8695954 | 4463992 | 32523530 | 43893218 |  | 6
Mean | 8691453.5 | 4461370.5 | 32403414.8333 | 44013385.5 |  | Mean | 8699733.9 | 4467274 | 32433203 | 43953697.5
SD | 18978.9419 | 41361.5952 | 83125.7879 | 350655.1362 |  | SD | 20727.2524 | 34968.1381 | 74349.789 | 355745.2261
% RSD | 0.21836 | 0.92711 | 0.25653 | 0.7967 |  | % RSD | 0.23825 | 0.78276 | 0.22924 | 0.80936
Sample Details
Batch No. | Storage Condition | Packing Detail | TRF No. | AR No. | Compound Name | LC | Avg Weight | Sample Weight | Vol | Pip | Vol | Area | % Assay | % Mean
EP20_117-299-B | 2-8°C_3M | Glass Vial | TRF_068-24-089 | AD/008/24/0701 | Tricaprylin | 2 | 1.005 | 1.5008 | 25 | 1 | 1 | 8729574 | 99.979
[5 empty] | DPPG | 0.9 | [5 empty] | 3826195 | 86.2004
[5 empty] | Cholesterol | 4.7 | [5 empty] | 32474189 | 101.7724
[5 empty] | DEPC | 8.2 | [5 empty] | 44235393 | 100.3897
[5 empty] | Tricaprylin | 2 | 1.005 |  | 25 | 1 | 1 |  |  | 99.979
[5 empty] | DPPG | 0.9 | [7 empty] | 86.2004
[5 empty] | Cholesterol | 4.7 | [7 empty] | 101.7724
[5 empty] | DEPC | 8.2 | [7 empty] | 100.3897
EP20_117-299-C | 2-8°C_3M | Glass Vial | TRF_068-24-091 | AD/008/24/0702 | Tricaprylin | 2 | 1.005 | 1.5051 | 25 | 1 | 1 | 8576367 | 97.9437
[5 empty] | DPPG | 0.9 | [5 empty] | 4183290 | 93.9761
[5 empty] | Cholesterol | 4.7 | [5 empty] | 32445874 | 101.3932
[5 empty] | DEPC | 8.2 | [5 empty] | 44011931 | 99.5972
[5 empty] | Tricaprylin | 2 | 1.005 |  | 25 | 1 | 1 |  |  | 97.9437
[5 empty] | DPPG | 0.9 | [7 empty] | 93.9761
[5 empty] | Cholesterol | 4.7 | [7 empty] | 101.3932
[5 empty] | DEPC | 8.2 | [7 empty] | 99.5972
EP20_117-299-A | 2-8°C_3M | Glass Vial | TRF_068-24-088 | AD/008/24/0700 | Tricaprylin | 2 | 1.005 | 1.5104 | 25 | 1 | 1 | 8806534 | 100.2194
[5 empty] | DPPG | 0.9 | [5 empty] | 3755690 | 84.0742
[5 empty] | Cholesterol | 4.7 | [5 empty] | 32693267 | 101.8078
[5 empty] | DEPC | 8.2 | [5 empty] | 43675013 | 98.488
[5 empty] | Tricaprylin | 2 | 1.005 |  | 25 | 1 | 1 |  |  | 100.2194
[5 empty] | DPPG | 0.9 | [7 empty] | 84.0742
[5 empty] | Cholesterol | 4.7 | [7 empty] | 101.8078
[5 empty] | DEPC | 8.2 | [7 empty] | 98.488
Tricaprylin
DPPG
Cholesterol
DEPC
[5 empty] | Tricaprylin | 0 | 0 |  | 0 | 0 | 0
[5 empty] | DPPG | 0
[5 empty] | Cholesterol | 0
[5 empty] | DEPC | 0
Tricaprylin
DPPG
Cholesterol
DEPC
[5 empty] | Tricaprylin | 0 | 0 |  | 0 | 0 | 0
[5 empty] | DPPG | 0
[5 empty] | Cholesterol | 0
[5 empty] | DEPC | 0
Tricaprylin
DPPG
Cholesterol
DEPC
[5 empty] | Tricaprylin | 0 | 0 |  | 0 | 0 | 0
[5 empty] | DPPG | 0
[5 empty] | Cholesterol | 0
[5 empty] | DEPC | 0
Tricaprylin
DPPG
Cholesterol
DEPC
[5 empty] | Tricaprylin | 0 | 0 |  | 0 | 0 | 0
[5 empty] | DPPG | 0
[5 empty] | Cholesterol | 0
[5 empty] | DEPC | 0
Analyzed By | [7 empty] | Checked By

## Drug to Lipid ratio Auto Calc
Emcure
R & D Ahmedabad
Analytical Development
Drug to Lipid Calculation Sheet
Generic Name |  | Bupivacaine liposome injectable suspension (13.3 mg/ml)
Product Name |  | Bupivacaine liposome injectable suspension (13.3 mg/ml)
Test |  | Drug to Lipid Ratio
Analysis as per |  | AD/ATP/648/02
Analysed By |  | Mayur Kansara
Instrument Id. |  | AD/HPLC/006
Date of Analysis |  | 2024-11-25
Sample Details
Batch No. | Storage Condition | Packing Detail | TRF No. | AR No. | Compound Name | L.C. (Lipid) | % Mean (Lipid) | mg/mL (Lipid) | mg/mL (Sum of Lipid) | % Assay of Bupivacaine | L.C. of Bupivacaine | mg/mL of Bupivacaine | Drug/Lipid Ratio
EP20_117-299-B | 2-8°C_3M | Glass Vial | TRF_068-24-089 | AD/008/24/0701 | Tricaprylin | 2 | 99.979 | 1.9996 | 15.7906 | 99.9 | 13.3 | 13.2867 | 0.84143
[5 empty] | DPPG | 0.9 | 86.2004 | 0.7758
[5 empty] | Cholesterol | 4.7 | 101.7724 | 4.7833
[5 empty] | DEPC | 8.2 | 100.3897 | 8.232
EP20_117-299-C | 2-8°C_3M | Glass Vial | TRF_068-24-091 | AD/008/24/0702 | Tricaprylin | 2 | 97.9437 | 1.9589 | 15.7371 | 97.8 | 13.3 | 13.0074 | 0.82654
[5 empty] | DPPG | 0.9 | 93.9761 | 0.84579
[5 empty] | Cholesterol | 4.7 | 101.3932 | 4.7655
[5 empty] | DEPC | 8.2 | 99.5972 | 8.167
EP20_117-299-A | 2-8°C_3M | Glass Vial | TRF_068-24-088 | AD/008/24/0700 | Tricaprylin | 2 | 100.2194 | 2.0044 | 15.622 | 100.3 | 13.3 | 13.3399 | 0.85392
[5 empty] | DPPG | 0.9 | 84.0742 | 0.75667
[5 empty] | Cholesterol | 4.7 | 101.8078 | 4.785
[5 empty] | DEPC | 8.2 | 98.488 | 8.076
0 | 0 | 0 | 0 | 0 | Tricaprylin | 0 |  |  | 0 |  | 13.3 | 0
[5 empty] | DPPG | 0
[5 empty] | Cholesterol | 0
[5 empty] | DEPC | 0
0 | 0 | 0 | 0 | 0 | Tricaprylin | 0 |  |  | 0 |  | 13.3 | 0
[5 empty] | DPPG | 0
[5 empty] | Cholesterol | 0
[5 empty] | DEPC | 0
0 | 0 | 0 | 0 | 0 | Tricaprylin | 0 |  |  | 0 |  | 13.3 | 0
[5 empty] | DPPG | 0
[5 empty] | Cholesterol | 0
[5 empty] | DEPC | 0
0 | 0 | 0 | 0 | 0 | Tricaprylin | 0 |  |  | 0 |  | 13.3 | 0
[5 empty] | DPPG | 0
[5 empty] | Cholesterol | 0
[5 empty] | DEPC | 0
Analyzed By | [9 empty] | Checked By