## 1
Emcure Pharmaceuticals Limited - R & D (Ahmedabad) | [16 empty] | Page 1 of 2
PRODUCT | Doxorubicin 2mg/ml concentrate for solution for infusion (Pegylated liposomal doxorubicin hydrochloride) | [7 empty] | Disso Media | 0.05M Potassium dihydrogen phosphate (pH 6.5)
[9 empty] | Apparatus | USP Type II (Paddle)
LABEL CLAIM (mg/mL) : | 2 | [7 empty] | RPM | 75 |  | TRF No. | TRF-054-25-096
STRENGTH | 20mg/10mL | [7 empty] | Tempre (°C) | 52°C |  | A.R. No. | AD/045/26/0512
TEST PERFORMED | Dissolution (USP Type II Apparatus) | [10 empty] | LNB No. | LNB_AD_403
DATE OF ANALYSIS | 17 OCT 2025
[9 empty] | Parameter |  | 0.05M Phosphate buffer pH 6.5
Batch No. | ESD24E002 |  |  |  | Wt./mL
% Assay | 103.8509 |  |  |  | 1.0378
STANDARD PREPARATION | Doxorubicin HCl WS | Wt. in mg | Dilutions | [11 empty] | %Potency |  | Concen. (ppm)
|  | 32.56 | mg | 100 | ml (Water) | 5 | ml | 50 | ml (Media) | 5 | ml | 10 | ml (MeOH) |  | 100 |  | 16.28
Area of standard Injections | Injections | Inj-1 | Inj-2 | Inj-3 | Inj-4 | Inj-5 | Mean | RSD |  | DISSO ID |  |  | HPLC ID |  |  | Column ID
| Area | 1379924 | 1369824 | 1374632 | 1377683 | 1369166 | 1374245.8 | 0.34432 |  | AD/TDT/010 |  |  | AD/HPLC/027 |  |  | AD/LC/3091
[13 empty] | Injection | Area
Bracketing Std (Area) | BKT-1 | BKT-2 | BKT-3 | BKT-4 | BKT-5 | BKT-6 | Mean | RSD |  | Weight | mg |  |  | STD-1 | STD-2
| 1363801 | 1367530 | 1376731 | 1357340 | 1364984 | 1351791 | 1364392.1 | 0.82486 |  | STD -1 | 32.56 |  | 1 | 1379924 | 1373589
| BKT-7 | BKT-8 | BKT-9 | BKT-10 | BKT-11 | BKT-12 |  |  |  | STD -2 | 32.59 |  | 2 | 1369824 | 1366597
| BKT-7: 1352941; BKT-8: 1348849; BKT-9: 1346294 | [6 empty] | 3 | 1374632
| BKT-13 | BKT-14 | BKT-15 | BKT-16 | BKT-17 | BKT-18 | [6 empty] | 4 | 1377683
[13 empty] | 5 | 1369166
| BKT-19 | BKT-20 | BKT-21 | BKT-22 | BKT-23 | BKT-24 | [6 empty] | Mean | 1374793.3333 | 1370093
[13 empty] | STD Co-Relation |  | 1.0044
System Suitability Criteria | [13 empty] | Observation
1. No interference peak from the Blank solution should be observed at the retention time of peak due to Doxorubicin in Test solution. | [13 empty] | Complies
2. The Tailing factor for peak due to Doxorubicin in 5th injection of Standard solution should be not more than 2.0 | [13 empty] | 0.997
3. Theoretical plates for peak due to Doxorubicin in 5th injection of Standard solution should be not less than 2000. | [13 empty] | 15102
4. % RSD of the peak area of Doxorubicin from five replicate injections of Standard solution should be not more than 2.0. | [13 empty] | 0.34432
5. The %RSD of the peak area of Doxorubicin from Bracketing standards and replicate injections of Standard solution should be not more than 2.0. | [13 empty] | 0.82486
Test Preparation | BKT-19: Sample Volume; BKT-21: Medium Volume (mL); BKT-23: Total volume (mL) | Aliquot Volume (mL) |  | Dilution Volume (mL) |  |  | Withdrawal Volume (mL) |  | Replenishment Volume (mL)
| BKT-19: 1; BKT-21: 600; BKT-23: 610 | 3 |  | 6 |  |  | 10 |  | 10
Continue on Next page
Page 2 of 2
SAMPLE WEIGHT
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
Filled Wt. (g) | 21.8963 | 21.8125 | 21.7023 | 21.8124 | 21.8255 | 21.9325 | 21.4565 | 21.9352 | 21.6861 | 21.6523 | 21.8152 | 21.4965
Empty Wt. (g) | 11.0658 | 11.0863 | 11.0632 | 11.0122 | 11.0654 | 11.0131 | 11.0564 | 11.0785 | 11.0736 | 11.0125 | 11.0534 | 11.0125 | Mean | Min | Max
Net Wt. (g) | 10.8305 | 10.7262 | 10.6391 | 10.8003 | 10.7601 | 10.9194 | 10.4001 | 10.8567 | 10.6125 | 10.6398 | 10.7618 | 10.484 | 10.7793 | 10.6391 | 10.9194
SAMPLE AREA
Time Interval (Hours) | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
0.5 | 1319314 | 1312428 | 1221195 | 1291423 | 1290993 | 1309706 | 1231826 | 1223044 | 1209183 | 1239278 | 1223870 | 1179289
1.5 | 1235477 | 1240709 | 1190452 | 1252537 | 1246249 | 1234782 | 1161956 | 1196854 | 1179608 | 1150829 | 1167839 | 1143943
3 | 1130569 | 1076527 | 1114862 | 1130453 | 1138952 | 1125863 | 1029825 | 1057710 | 1059193 | 1064676 | 1014191 | 1041412
7 | 831789 | 887655 | 864575 | 897029 | 931841 | 891422 | 778158 | 807056 | 849906 | 839158 | 833716 | 804622
10 | 770942 | 776396 | 836430 | 732908 | 785718 | 792014 | 671591 | 686621 | 728863 | 742274 | 729831 | 750940
12 | 700042 | 699181 | 719597 | 726386 | 675382 | 734186 | 649827 | 650587 | 642665 | 665228 | 629418 | 685643
16 | 513520 | 551257 | 488964 | 520339 | 521606 | 575888 | 485815 | 486730 | 480904 | 535570 | 520236 | 463026
20 | 355597 | 375317 | 397616 | 427891 | 355949 | 340316 | 329140 | 394245 | 330551 | 296570 | 338468 | 377146
24 | 167254 | 189476 | 178302 | 209387 | 186266 | 210344 | 154896 | 178015 | 182479 | 192428 | 183464 | 158910
36 | 147219 | 145465 | 153564 | 138539 | 126749 | 139167 | 134385 | 120770 | 117972 | 133208 | 136458 | 145160
48 | 38217 | 40039 | 36598 | 24692 | 43922 | 43972 | 33991 | 27958 | 38930 | 39818 | 39722 | 29929
60 | 7402 | 7380 | 14374 | 6909 | 10162 | 9300 | 6814 | 7564 | 7599 | 6937 | 8295 | 11110
% Content of Doxorubicin Hydrochloride
Time Interval (Hours) | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | Mean | SD | %RSD | Min. | Max.
0.5 | 91.355 | 91.7621 | 86.0819 | 89.6743 | 89.9791 | 89.9515 | 88.8271 | 84.4846 | 85.4492 | 87.3511 | 85.2872 | 84.3582 | 87.8801 | 2.6974 | 3.0694 | 86.0819 | 91.7621
1.5 | 87.0474 | 88.252 | 85.326 | 88.4442 | 88.3356 | 86.2803 | 85.2449 | 84.0605 | 84.7601 | 82.5487 | 82.7807 | 83.2127 | 85.5244 | 2.1602 | 2.5258 | 85.326 | 88.4442
3 | 79.7125 | 76.7152 | 79.9853 | 79.9467 | 80.8303 | 78.7395 | 75.6582 | 74.4418 | 76.2394 | 76.3974 | 72.0325 | 75.8595 | 77.2132 | 2.6535 | 3.4365 | 76.7152 | 80.8303
7 | 58.9034 | 63.3205 | 62.255 | 63.5989 | 66.2721 | 62.5143 | 57.3533 | 56.9696 | 61.3101 | 60.4009 | 59.2796 | 58.8007 | 60.9149 | 2.7946 | 4.5876 | 58.9034 | 66.2721
10 | 54.349 | 55.322 | 59.9805 | 51.9346 | 55.8491 | 55.4209 | 49.3687 | 48.3639 | 52.5116 | 53.3097 | 51.8312 | 54.681 | 53.5768 | 3.1081 | 5.8012 | 51.9346 | 59.9805
12 | 49.3649 | 49.7921 | 51.7076 | 51.2905 | 47.988 | 51.3329 | 47.6684 | 45.7337 | 46.276 | 47.7628 | 44.7116 | 49.9426 | 48.6309 | 2.3128 | 4.7559 | 47.988 | 51.7076
16 | 36.3676 | 39.359 | 35.3147 | 36.9723 | 37.1414 | 40.3939 | 35.8136 | 34.3717 | 34.7426 | 38.5329 | 36.9864 | 33.9404 | 36.6614 | 2.0021 | 5.4609 | 35.3147 | 40.3939
20 | 25.2193 | 26.8866 | 28.6068 | 30.3182 | 25.4177 | 24.0353 | 24.3214 | 27.7969 | 23.9286 | 21.5356 | 24.193 | 27.5348 | 25.8162 | 2.4591 | 9.5256 | 24.0353 | 30.3182
24 | 11.9948 | 13.6885 | 13.0375 | 15.0365 | 13.399 | 14.8406 | 11.5683 | 12.7525 | 13.2875 | 13.9164 | 13.1816 | 11.8187 | 13.2102 | 1.0918 | 8.2648 | 11.9948 | 15.0365
36 | 10.3907 | 10.395 | 11.0384 | 9.8664 | 9.0538 | 9.8014 | 9.8802 | 8.5515 | 8.5545 | 9.6174 | 9.7254 | 10.5775 | 9.7877 | 0.772 | 7.8875 | 9.0538 | 11.0384
48 | 2.8429 | 3.0238 | 2.7935 | 1.9611 | 3.2809 | 3.2633 | 2.6407 | 2.1403 | 2.9689 | 3.0347 | 2.9842 | 2.3347 | 2.7724 | 0.42504 | 15.3309 | 1.9611 | 3.2809
60 | 0.68289 | 0.56556 | 1.059 | 0.5119 | 0.76205 | 0.69223 | 0.53465 | 0.55759 | 0.58567 | 60.4009 | 0.62697 | 0.83301 | 5.651 | 17.2424 | 305.1198 | 0.5119 | 1.059
% Release of Doxorubicin Hydrochloride
Time Interval (Hours) | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | Mean | SD | %RSD | Min. | Max. | Spec Limit
0.5 | 12.4959 | 12.0888 | 17.769 | 14.1766 | 13.8718 | 13.8994 | 15.0238 | 19.3663 | 18.4017 | 16.4998 | 18.5637 | 19.4927 | 15.9708 | 2.6974 | 16.8897 | 12.0888 | 19.4927
1.5 | 16.8035 | 15.5989 | 18.5249 | 15.4067 | 15.5153 | 17.5706 | 18.606 | 19.7904 | 19.0908 | 21.3022 | 21.0702 | 20.6382 | 18.3265 | 2.1602 | 11.7872 | 15.4067 | 21.3022
3 | 24.1384 | 27.1357 | 23.8656 | 23.9042 | 23.0206 | 25.1114 | 28.1927 | 29.4091 | 27.6115 | 27.4535 | 31.8184 | 27.9914 | 26.6377 | 2.6535 | 9.9613 | 23.0206 | 31.8184
7 | 44.9475 | 40.5304 | 41.5959 | 40.252 | 37.5788 | 41.3366 | 46.4976 | 46.8813 | 42.5408 | 43.45 | 44.5713 | 45.0502 | 42.936 | 2.7946 | 6.5087 | 37.5788 | 46.8813
10 | 49.5019 | 48.5289 | 43.8704 | 51.9163 | 48.0018 | 48.43 | 54.4822 | 55.487 | 51.3393 | 50.5412 | 52.0197 | 49.1699 | 50.2741 | 3.1081 | 6.1824 | 43.8704 | 55.487
12 | 54.486 | 54.0588 | 52.1433 | 52.5604 | 55.8629 | 52.518 | 56.1825 | 58.1172 | 57.5749 | 56.0881 | 59.1393 | 53.9083 | 55.22 | 2.3128 | 4.1884 | 52.1433 | 59.1393
16 | 67.4833 | 64.4919 | 68.5362 | 66.8786 | 66.7095 | 63.457 | 68.0373 | 69.4792 | 69.1083 | 65.318 | 66.8645 | 69.9105 | 67.1895 | 2.0021 | 2.9797 | 63.457 | 69.9105
20 | 78.6316 | 76.9643 | 75.2441 | 73.5327 | 78.4332 | 79.8156 | 79.5295 | 76.054 | 79.9223 | 82.3153 | 79.6579 | 76.3161 | 78.0347 | 2.4591 | 3.1513 | 73.5327 | 82.3153
24 | 91.8561 | 90.1624 | 90.8134 | 88.8144 | 90.4519 | 89.0103 | 92.2826 | 91.0984 | 90.5634 | 89.9345 | 90.6693 | 92.0322 | 90.6407 | 1.0918 | 1.2045 | 88.8144 | 92.2826
36 | 93.4602 | 93.4559 | 92.8125 | 93.9845 | 94.7971 | 94.0495 | 93.9707 | 95.2994 | 95.2964 | 94.2335 | 94.1255 | 93.2734 | 94.0632 | 0.772 | 0.82073 | 92.8125 | 95.2994
48 | 101.008 | 100.8271 | 101.0574 | 101.8898 | 100.57 | 100.5876 | 101.2102 | 101.7106 | 100.882 | 100.8162 | 100.8667 | 101.5162 | 101.0785 | 0.42504 | 0.4205 | 100.57 | 101.8898
60 | 103.168 | 103.2853 | 102.7919 | 103.339 | 103.0888 | 103.1587 | 103.3163 | 103.2933 | 103.2652 | 43.45 | 103.2239 | 103.0179 | 98.1999 | 17.2424 | 17.5585 | 102.7919 | 103.339
REMARKS : 15 gm Dowex 50 WX4
Analyzed by | [8 empty] | Checked by