## Sheet1
Emcure
R & D Ahmedabad
Analytical Development
Limit of Phosphate & Phosphite Calculation Sheet
Product Name | Foscarnet Sodium Injection 24mg/mL
Test | Limit of Phosphate & Phosphite
Analysis as per | QC-DP-MOA-029-01
Instrument ID | AD/HPLC/007
Analysed By | Mayur Kansara
Date of Analysis | 2024-10-09
Element | Salt Form | M.W. of Base | M.W. of Salt | Std Wt (mg) | mL (V.F.) | Pipette | mL (V.F.) | Pipette | mL (V.F.) | Potency | Conc. (ppm)
Phosphate | NaH2PO4 * H2O | 94.97 | 137.99 | 349.79 | 100 | 10 | 50 | 5 | 25 | 100 | 96.2955
Phosphite | Na2HPO3 * 5H2O | 78.97 | 216.04 | 333.34 | 100 | 10 | 50 | 5 | 25 | 99.7 | 48.5926
Sr. No. | Standard Area | [7 empty] | Rep No. | Standard BKT Area
| Phosphate | Phosphite | [7 empty] | Phosphate | Phosphite
1 | 172292 | 71718 | [6 empty] | BKT- 1 | 172311 | 71905
2 | 172018 | 71902 | [6 empty] | BKT- 2
3 | 172296 | 71771 | [6 empty] | BKT- 3
4 | 172745 | 71623 | [6 empty] | BKT- 4
5 | 173166 | 72016 | [6 empty] | BKT- 5
6 | 171737 | 72288 | [6 empty] | BKT- 6
Mean | 172375.6667 | 71886.3333 | [6 empty] | Mean | 172366.4286 | 71889
SD | 511.8987 | 240.5732 | [6 empty] | SD | 467.9362 | 219.7256
%RSD | 0.29697 | 0.33466 | [6 empty] | %RSD | 0.27148 | 0.30565
Sample Details | [5 empty] | Sample Dilution |  | Sample Area |  | % Results
Batch No. | Condition |  | AR.No. | TRF No. | Lable Claim | mL | mL | Phosphate | Phosphite | Phosphate | Phosphite
PTF_351AHM-025 | 25°C_6M |  | AD/008/24/0563 | TRF_055-24-58 | 24 | 4 | 20 | 4824 | 39878 | 0.056143 | 0.56159
PTF_351AHM-025 | 40°C_6M |  | AD/008/24/0563 | TRF_055-24-58 | 24 | 4 | 20 | 6036 | 45410 | 0.070249 | 0.63949
Analysed By | [5 empty] | Checked By
+